## Slide 1
A Paradigm Shift
Using CGM to Dose Physical Activity
to Optimize Time in Range
John Pemberton RD, Birmingham Children’s Hospital

## Slide 2
 | No, Nothing to disclose
Y | Yes, please specify disclosures
Company / Name | Honoraria / Expense | Consulting / Advisory Board | Funded Research | Royalties / Patent | Stock Options | Ownership / Equity Position | Employee | Other (Please specify)
ROCHE | Y | Y |  |  |  |  |  | 
Dexcom | Y |  |  |  |  |  |  | 
Insulet | Y |  |  |  |  |  |  | 
Abbott | Y | Y |  |  |  |  |  | 

## Slide 3: Agenda
Physical activity recommendations and barriers
How close do current therapies get to achieving glucose targets?
Paradigm Shift: Using physical activity to optimize time in range

## Slide 4: World Health Organisation
Br J Sports Med. 2020;54:1451-62

## Slide 5
BMC Public Health 22, 1964 (2022).
https://doi.org/10.1186/s12889-022-14385-1
OpenAI. (2025). ChatGPT. https://chat.openai.com/chat
Barriers to Physical Activity
Appl Physiol Nutr Metab. 2021;46:95-107.
Canadian journal of diabetes. 2024;48:105-11.e5.
Canadian journal of diabetes. 2024.
PLoS One. 2014;9:e108019.
Canadian journal of diabetes. 2024;48:401-8.
Canadian journal of diabetes. 2023;47:124-32.
Diabetic medicine : 2024;41:e15149.
OpenAI. (2025). ChatGPT. https://chat.openai.com/chat

## Slide 6: How many people with T1D achieve 70% TIR?
Diabetes Care. 2019 Aug;42(8):1593-1603.
Diabetes care. 2024;47:S111-s25.
Pediatr Diabetes. 2022;23:1270-6.
Real world data 20-36% JAMANetworkOpen.2023;6(2):e230077.
doi:10.1001/jamanetworkopen.2023.0077
Real world data < 50%
BMC Med . 2024 Apr 24;22(1):175. doi: 10.1186/s12916-024-03396-x.
Diabetes Care. 2023 Oct 1;46(10):1831-1838.

## Slide 7: Challenges
  Diabetic Med. 1998; (15): 972-978; Diabet Med. 2018;35(3):306–16; J Diabetes Sci Technol. 2017;11:753-8.; Diabetes Res Clin Pract. 2013;99:19-23;
Graphics courtesy of:

## Slide 8: Challenges
  Diabetic Med. 1998; (15): 972-978; Diabet Med. 2018;35(3):306–16; J Diabetes Sci Technol. 2017;11:753-8.; Diabetes Res Clin Pract. 2013;99:19-23; OpenAI. (2025). ChatGPT. https://chat.openai.com/chat

## Slide 9: a
  Diabetes Obesity & Metabolism (2024). https://doi.org/10.1111/dom.16088; Nat Rev Endocrinol. 2017 Mar 1;13(3):133–48.; Physiol Rev. 2015;95(2):549–601.
Physical activity can tackle physiologic
& behavioural challenges by Supercharging Insulin
Graphics courtesy of:

## Slide 10: What we already know?
Walking for 30-minutes after meals stops hyperglycaemia for T1D and non-T1D
  Diabetes Care 35:2493–2499, 2012
Lauren Turner: Walking for 20-minutes before meals improves post-meal glucose
  Diabetes Obes Metab. 2024;26:2492–2496
3 every 30:
  3 minutes of walking every 30 minutes improves 24hr time in range by ~14%
  Diabetes Obes Metab. 2023 Dec;25(12):3589-3598. doi: 10.1111/dom.15254
All with minimal impact on hypoglycaemia risk
But what if the glucose is already above 180 mg/dL (10 mmol/L)?

## Slide 11
Riddell et al., Paediat Diabetes 2019; 20(1): 99-106
N = 1
Notes: Objective: To evaluate the pattern of change in blood glucose concentrations and hypoglycemia
risk in response to prolonged aerobic exercise in adolescents with type 1 diabetes (T1D) that
had a wide range in pre-exercise blood glucose concentrations.
Methods: Individual blood glucose responses to prolonged (~60 minutes) moderate-intensity
exercise were profiled in 120 youth with T1D.
Results: The mean pre-exercise blood glucose concentration was 178 66 mg/dL, ranging
from 69 to 396 mg/dL, while the mean change in glucose during exercise was −76 55 mg/dL
(mean SD), ranging from +83 to −257 mg/dL. Only 4 of 120 youth (3%) had stable glucose
levels during exercise (ie, ≤10 mg/dL), while 4 (3%) had a rise in glucose >10 mg/dL, and the
remaining (93%) had a clinically significant drop (ie, >10 mg/dL). A total of 53 youth (44%) developed
hypoglycemia (≤70 mg/dL) during exercise. The change in glucose was negatively correlated
with the pre-exercise glucose concentration (R2 = 0.44, P < 0.001), and tended to be
greater in those on multiple daily insulin injections (MDI) vs continuous subcutaneous insulin
infusion (CSII) (−98 15 vs −65 7 mg/dL, P = 0.05). No other collected variables appeared
to predict the change in glucose including age, weight, height, body mass index, disease duration,
daily insulin dose, HbA1c, or sex.
Conclusion: Youth with T1D have variable glycemic responses to prolonged aerobic exercise,
but this variability is partially explained by their pre-exercise blood glucose levels. When no
implementation strategies are in place to limit the drop in glycemia, the incidence of exerciseassociated
hypoglycemia is ~44% and having a high pre-exercise blood glucose concentration is
only marginally protective.

## Slide 12
45 minutes drops by:
110 mg/dL or 6.1 mmol/L
15 minutes drops by:
~40 mg/dL or ~2 mmol/L
Riddell et al., Paediat Diabetes 2019; 20(1): 99-106
44% hypoglycaemia
~75% vs <10% hypoglycaemia
Notes: Objective: To evaluate the pattern of change in blood glucose concentrations and hypoglycemia
risk in response to prolonged aerobic exercise in adolescents with type 1 diabetes (T1D) that
had a wide range in pre-exercise blood glucose concentrations.
Methods: Individual blood glucose responses to prolonged (~60 minutes) moderate-intensity
exercise were profiled in 120 youth with T1D.
Results: The mean pre-exercise blood glucose concentration was 178 66 mg/dL, ranging
from 69 to 396 mg/dL, while the mean change in glucose during exercise was −76 55 mg/dL
(mean SD), ranging from +83 to −257 mg/dL. Only 4 of 120 youth (3%) had stable glucose
levels during exercise (ie, ≤10 mg/dL), while 4 (3%) had a rise in glucose >10 mg/dL, and the
remaining (93%) had a clinically significant drop (ie, >10 mg/dL). A total of 53 youth (44%) developed
hypoglycemia (≤70 mg/dL) during exercise. The change in glucose was negatively correlated
with the pre-exercise glucose concentration (R2 = 0.44, P < 0.001), and tended to be
greater in those on multiple daily insulin injections (MDI) vs continuous subcutaneous insulin
infusion (CSII) (−98 15 vs −65 7 mg/dL, P = 0.05). No other collected variables appeared
to predict the change in glucose including age, weight, height, body mass index, disease duration,
daily insulin dose, HbA1c, or sex.
Conclusion: Youth with T1D have variable glycemic responses to prolonged aerobic exercise,
but this variability is partially explained by their pre-exercise blood glucose levels. When no
implementation strategies are in place to limit the drop in glycemia, the incidence of exerciseassociated
hypoglycemia is ~44% and having a high pre-exercise blood glucose concentration is
only marginally protective.

## Slide 13: 15 mins drops glucose by ~2.0 mmol/L (40 mg/dL)
Pediatr Diabetes. 2022;23(7):1045-1056.

## Slide 14
TIR (3.9-10.0 mmol/L)
HbA1c (mmol/L)
TAR (>10.0 mmol/L)
TAR2 (>13.9 mmol/L)
TBR (<3.9 mmol/L)
TBR2 (<3.0mmol/L)
Pediatr Diabetes. 2023 Article ID 2519368. https://doi.org/10.1155/2023/2519368
125 paediatrics: Use of GAME?
Low (30%)
Mild (34%)
Moderate (36%)
No difference in HbA1c at baseline
Limitations:
Self-report
Intensity not verified
Association not causation

## Slide 15
N = 120

## Slide 16
>8,000 sessions
>3,500 sessions
Notes: Continuous glucose monitoring and activity data were collected from 404 adults (28-day observation free living activities and prescribed six 30-minute sessions of different activity types) - >8,000 exercise sessions
149 adolescents (10-day observation free living activites) with T1D.

## Slide 17
Sorry Mike

## Slide 18
Diabetes Research and Clinical Practice, Volume 220, 111981
Methods:
404 adults and 149 adolescents with T1D.
Activities (N = 1902, Adults = 1599, Adolescent = 303)
Starting glucose between 181-300 mg/dL,
Duration 10–60 min with no reported meals during activity
Aims:
Estimate activity duration to lower glucose from above target range (>180 mg/dL) to within target range (TIR: 70–180 mg/dL) in individuals with type 1 diabetes (T1D).
Result categories:
Starting glucose level (181–199, 200–224, 225–249, and 250–300 mg/dL)
Insulin on board (None, >0 to <0.04, ≥0.04 u/kg – four-hour linear decay model)
Rate of change (Falling: <-1 mg/dL/min, Stable -1 to 1 mg/dL/min, Rising >1 mg/dL/min)
N = 2,000
Notes: mg/dL) to within target range (TIR: 70–180 mg/dL) in individuals with type 1 diabetes (T1D).
Methods:
Continuous glucose monitoring and activity data were collected from 404 adults (28-day observation) and 149 adolescents (10-day observation) with T1D. Activities (N = 1902) with a starting glucose between 181- 300 mg/dL, duration 10–60 min, and no reported meals during activity were included in the analysis. Kaplan- Meier curves were used to estimate activity duration required to drop starting glucose levels from above to within TIR.
Results:
An overall starting glucose value of 181–199, 200–224, 225–249, and 250–300 mg/dL required an estimated activity duration of 15, 31, 59, and ≥ 60 min, respectively, to have a 50 % chance of reducing glucose to be within target range, with a 0–11 % incidence of hypoglycemia in the hour after activity. Activity duration requirements increased irrespective of starting glucose levels when glucose was trending upwards before activity and with zero bolus insulin on board at the start of activity. Adult and adolescent results were similar.
Conclusions:
Time-limited activity is an effective means of restoring TIR when hyperglycemia exists in adolescents and adults with T1D.

## Slide 19
Diabetes Research and Clinical Practice, Volume 220, 111981
Notes: mg/dL) to within target range (TIR: 70–180 mg/dL) in individuals with type 1 diabetes (T1D).
Methods:
Continuous glucose monitoring and activity data were collected from 404 adults (28-day observation) and 149 adolescents (10-day observation) with T1D. Activities (N = 1902) with a starting glucose between 181- 300 mg/dL, duration 10–60 min, and no reported meals during activity were included in the analysis. Kaplan- Meier curves were used to estimate activity duration required to drop starting glucose levels from above to within TIR.
Results:
An overall starting glucose value of 181–199, 200–224, 225–249, and 250–300 mg/dL required an estimated activity duration of 15, 31, 59, and ≥ 60 min, respectively, to have a 50 % chance of reducing glucose to be within target range, with a 0–11 % incidence of hypoglycemia in the hour after activity. Activity duration requirements increased irrespective of starting glucose levels when glucose was trending upwards before activity and with zero bolus insulin on board at the start of activity. Adult and adolescent results were similar.
Conclusions:
Time-limited activity is an effective means of restoring TIR when hyperglycemia exists in adolescents and adults with T1D.

## Slide 20: Other key findings
Diabetes Research and Clinical Practice, Volume 220, 111981
No differences by:
Therapy type (49% HCL, 35% CSII, 16% MDI)
Age (Adults vs Adolescent)
Activity type (Aerobic, Interval, Resistance)
Longer duration required for female adults starting between 225-249 mg/dL
0-11% risk of hypoglycaemia overall, up to 30 minutes a maximum 7% risk with fast falling ROC
Chance of glucose increasing during activity
>0 units/kg insulin on board: 11-31%
Zero insulin on board: up to 54%
Notes: mg/dL) to within target range (TIR: 70–180 mg/dL) in individuals with type 1 diabetes (T1D).
Methods:
Continuous glucose monitoring and activity data were collected from 404 adults (28-day observation) and 149 adolescents (10-day observation) with T1D. Activities (N = 1902) with a starting glucose between 181- 300 mg/dL, duration 10–60 min, and no reported meals during activity were included in the analysis. Kaplan- Meier curves were used to estimate activity duration required to drop starting glucose levels from above to within TIR.
Results:
An overall starting glucose value of 181–199, 200–224, 225–249, and 250–300 mg/dL required an estimated activity duration of 15, 31, 59, and ≥ 60 min, respectively, to have a 50 % chance of reducing glucose to be within target range, with a 0–11 % incidence of hypoglycemia in the hour after activity. Activity duration requirements increased irrespective of starting glucose levels when glucose was trending upwards before activity and with zero bolus insulin on board at the start of activity. Adult and adolescent results were similar.
Conclusions:
Time-limited activity is an effective means of restoring TIR when hyperglycemia exists in adolescents and adults with T1D.

## Slide 21: Key take home messages
10–30 minutes of activity effective when 181 to 249 mg/dL (10.0-13.9 mmol/L)
Low risk of hypoglycaemia.
If bolus insulin within 4 hours
For glucose levels above 250 mg/dL (13.9 mmol/L), check for ketones:
If ketones >0.6 mmol/L, only use insulin to correct
If ketones <0.6 mmol/L, provide a 50% correction before physical activity.
This strategy should be used at the discretion of the individual with type 1 diabetes,
Would the glucose have dropped without the activity?

## Slide 22
SMD <0.1 is needed and our model was <0.01?
Pretend I am stupid…

## Slide 24
On average: for 20 mins after activity
non-activity vs 20 mins of activity
0.6 mmol/L vs 2.4 mmol/L in 20 mins
11 mg/dL vs 44 mg/dL is 20 mins

## Slide 27
Bolus insulin within
4 hours for hours

## Slide 28
What about
2-hour area under the curve reductions?

## Slide 29
Dr. Dessi P Zaharieva
Chris Bright
Prof Rob Andrews

## Slide 30: Summary
3 every 30: 3-minute activity snacks throughout the day to optimise time in range
(3.9-10.0 mmol/L or 70-180 mg/dL)
Before meals: 20 minutes walking to sensitise the body to insulin
After-meals: 15-30 mins walking to stay in range (tight range)
15 by 2 or 15 by 40: After-meals: >10.0 mmol/L (180 mg/dL):
Activity Supercharges Bolus Insulin by 4X

## Slide 31: Acknowledgements
North American Team:
Zoey Li
Robin L. Gal
Lauren V. Turner
Simon Bergford
Peter Calhoun
Michael C. Riddell
The UK Team:
Cat Russon
Richard Pulsford
Brad Metcalf
Emma Cockcroft
Michael Allen
Anne-Marie Frohock
Rob Andrews

## Slide 32
OpenAI. (2025). ChatGPT. https://chat.openai.com/chat
99 Problems
But High Glucose Aint One
Resources
Click on the link for
“Google Drive”
Podcast
Activity Snacking to increase TIR
Download 99 Problems …
johnpemberton@nhs.net